Control4 Contemporary 120V 15A Mechanical Switch Data Sheet

Control4® Contemporary 120-277V 15A Mechanical Switch

Control4® C4-MSW-10PK-C-WH

A simple switch that matches the aesthetics of the Control4 Contemporary Lighting lineup to help you achieve a cohesive design across the home. Conveniently sold in packs of 10.

Features

- Simple on/off switch for lighting loads that don’t or shouldn’t use automation

- Provide homeowners a consistent look for lighting throughout the home

- Can be used as a single pole switch or a 3-way switch (SPDT)

- Available in 9 popular colors

SPECIFICATIONS

Model number C4-MSW-10PK-C-WH

Power consumption

120-277VAC/15A

Maximum load: 15 A

Available colors

C4-MSW-10PK-C-WH, C4-MSW-10PK-C-SW, C4-MSW-10PK-C-MB, C4-MSW-10PK-C-LA, C4-MSW-10PK-C-IV, C4-MSW-10PK-C-GR, C4-MSW-10PK-C-BR, C4-MSW-10PK-C-BL, C4-MSW-10PK-C-BI,